PRODUCT FEATURES

DESCRIPTION

Spring balanced, extendable safety post for fixed ladders.

BASIC USES / RELATED USES

Enables users to enter or exit a ladder through a roof or floor hatch in an upright and balanced position.

PRODUCT ATTRIBUTES AND CHARACTERISTICS

Retractable post.

PRODUCT PROPERTIES

COMPOSITION

Post:  Steel, with coiled spring, retractable arm, lifting handle for extending arm, and release handle for collapsing arm.

Hardware:

Mounting brackets:  Steel.

Fasteners:  Stainless steel.

Finish, Colours

Maxam Model SLP-1:  Powder Coated Safety Red

Maxam Model SLP-2:  Hot dip galvanized steel

Maxam Model SLP-3:  Aluminum, mill finish

Maxam Model SLP-4:  Stainless Steel, mill finish

PRODUCT PLACEMENT

PREPARATION

Check that all required components and hardware are included.

Internally reinforce hollow rungs prior to fastening safety post.

INSTALLATION

Safety posts may be installed on ladders before or after ladder is fastened to the wall.  Where ladders are installed first, ensure ladder is securely fastened prior to safety post installation.

Attachment:

Rungs:  Attach safety post to two rungs using brackets, bolts, washers, and lock nuts.

Risers:  Drill 11 mm (7/16 inch) holes in risers, and bolt safety post through them.

| Corporate Identification |
| --- |
|  | Maxam Metal Products Limited |
|  | Unit 5 – 7978 North Fraser Way, Burnaby, B.C. Canada V5J 0C7 |
|  | Toll Free Phone: 866-446-2926 Toll Free Fax: 866-436-2926 Direct Phone: 604-433-4243 Direct Fax: 604-433-4148 E-mail: info@maxammetal.com Internet: www.maxammetal.com |
| Classification and Filing |
|  | MasterFormat 2004: |
|  |  | Section 07 72 33 – Roof Hatches |
|  |  | Section 08 31 14 - Floor Access Doors |
|  | MasterFormat 1995: |
|  |  | Section 07720 – Roof Hatches |
|  |  | Section 08311 - Floor Access Doors |

END